## SMRW_PRM_06112024_transitions_f
Sample_Name | Replicate | Sample Type | Explicit Analyte Concentration | Accuracy | Calculated_Concentration | Retention Time | Molecule_Name | Total_Area | Standard Type | Normalization Method | Transition | Total Area Normalized | Normalized_Area | Exclude From Calibration | Concentration | NOTES_1 | NOTES_2 | Concentration | Dilution1_10_SMRW | Concentration_real_sample_ppb | Concentration real sample (ppt) |  | weight of 80% MeOH with IS added to sample (g) | vol of 80% MeOH with IS added |  | weight of sample (g) | vol of sample (mL) | weight of 80% MeOH with IS (g) |  | sum volume | 0.8469 | density 80% MeOH
0.1_ppb_calibrant | 0_point_1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.1 | 113.5% | 0.113 | 5.54 | Carbamazepine | 70523 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 1.72% | 0.0172 | FALSE | [7 empty] | SM 1-1 | 0.147 | 0.17357 | SMRW 2_1 dilution | 0.0135 | 0.01594 | 0.137 | 0.16177 | 0.17771
0.5_ppb_calibrant | 0_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.5 | 98.3% | 0.491 | 5.5 | Carbamazepine | 378148 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 8.31% | 0.0994 | FALSE | [7 empty] | SM 1-2 | 0.14 | 0.16531 | SMRW 2_2 dilution | 0.0145 | 0.017121 | 0.138 | 0.16295 | 0.18007
1ppb_calibrant | 1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.98 | 97% | 0.951 | 5.5 | Carbamazepine | 800617 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 14.07% | 0.199 | FALSE | [7 empty] | SM 1-3 | 0.139 | 0.16413 | SMRW 2_2 star dilution | 0.0147 | 0.017357 | 0.135 | 0.1594 | 0.17676
2.5ppb_calibrant | 2_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 2.5 | 85.3% | 2.13 | 5.5 | Carbamazepine | 2161422 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 25.63% | 0.456 | FALSE | [7 empty] | S 2_1 | 0.137 | 0.16177
5ppb_calibrant | 5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 4.9 | 113.5% | 5.56 | 5.5 | Carbamazepine | 5026920 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 37.46% | 1.2 | FALSE | [7 empty] | S 2_2 | 0.14 | 0.16531
10ppb_calibrant | 10ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 9.99 | 92.2% | 9.21 | 5.5 | Carbamazepine | 9187826 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 41.24% | 1.99 | FALSE | [7 empty] | SMRW2_2* | 0.137 | 0.16177
25ppb_calibrant | 25ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 24.9 | 107.3% | 26.7 | 5.5 | Carbamazepine | 23577052 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 46.5% | 5.8 | FALSE | [7 empty] | S 3_1 | 0.145 | 0.17121
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 50.3 | 88.8% | 44.7 | 5.5 | Carbamazepine | 40864664 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 47.97% | 9.71 | FALSE | [7 empty] | S 3-2 | 0.143 | 0.16885
100ppb_calibrant | 100ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 103.7 | 104.2% | 108 | 5.5 | Carbamazepine | 104431448 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 53.53% | 23.5 | FALSE | [7 empty] | 3_3 | 0.15 | 0.17712
Other | 250ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 256.08 | 14% | 35.9 | 5.54 | Carbamazepine | 35109176 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 16.03% | 7.81 | TRUE | [7 empty] | NS1-1 | 0.149 | 0.17594
Other | 500ppbcalppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 515.09 | 165.3% | 851 | 5.5 | Carbamazepine | 721887104 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 48.69% | 185 | TRUE | [7 empty] | NS 1-2 | 0.15 | 0.17712
Calibration_Blank | cal_blank_1 | Blank |  | #N/A | 0 | #N/A | Carbamazepine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | #N/A | 0 | FALSE | [7 empty] | NS 1-3 | 0.1406 | 0.16602
Calibration_Blank | calblank_2_1 | Blank |  | #N/A | 0 | #N/A | Carbamazepine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | #N/A | 0 | FALSE | BQ value | 0.725 |  |  |  | 0.00012397 | 0.12397 | N 3-1 | 0.1501 | 0.17723
Calibration_Blank | calblank_2_2 | Blank |  | #N/A | 0 | #N/A | Carbamazepine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | #N/A | 0 | FALSE | [7 empty] | N 3-2 | 0.145 | 0.17121
Extraction_Blank | Ext_Blank_1_100ppb_IS | Unknown |  | #N/A | 0.905 | 5.5 | Carbamazepine | 1310534 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 18.93% | 0.189 | FALSE | [5 empty] | 0.0001464 | 0.1464 | N 3-3 | 0.151 | 0.1783
Extraction_Blank | Ext_Blank_2_100ppb_IS | Unknown |  | #N/A | 0.041 | 5.5 | Carbamazepine | 9813 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.15% | 0.00149 | FALSE | Below Detection |  |  | BQ |  | 7.2134e-06 | 0.0072134 | E 1-1 | 0.137 | 0.16177
Extraction_Blank | Ext_Blank_3_100ppb_IS | Unknown |  | #N/A | 0.0752 | 5.5 | Carbamazepine | 66283 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.89% | 0.00893 | FALSE | Below Detection |  |  | BQ |  | 1.3408e-05 | 0.013408 | E 1-2 | 0.149 | 0.17594
Natural_Snowfall | NS1_1_100ppb_IS | Unknown |  | #N/A | 0.368 | 5.5 | Carbamazepine | 247312 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 7.25% | 0.0725 | FALSE |  |  |  | BQ |  | 6.4744e-05 | 0.064744 | E 1-3 | 0.151 | 0.1783
Natural_Snowfall | NS1_2_100ppb_IS | Unknown |  | #N/A | 0.0517 | 11.2 | Carbamazepine | 22234 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.38% | 0.00381 | FALSE | Below Detection |  |  | BQ |  | 9.1569e-06 | 0.0091569 | QC | 0.149 | 0.17594
Natural_Snowfall | NS1_3_100ppb_IS | Unknown |  | #N/A | 0.58 | 5.54 | Carbamazepine | 444296 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 11.86% | 0.119 | FALSE | BD |  |  | BQ |  | 9.629e-05 | 0.09629
Natural_Snowfall | NS3_1_100ppb_IS | Unknown |  | #N/A | 0.746 | 5.5 | Carbamazepine | 511590 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 13.22% | 0.155 | FALSE | [5 empty] | 0.00013222 | 0.13222 | BQ example |  | 0.171 | BEFORE USED TO BE 0.180
Natural_Snowfall | NS3_2_100ppb_IS | Unknown |  | #N/A | 0.152 | 5.5 | Carbamazepine | 100017 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 2.31% | 0.0256 | FALSE | Below detection |  |  | BQ |  | 2.6024e-05 | 0.026024
Natural_Snowfall | NS3_3_100ppb_IS | Unknown |  | #N/A | 0.689 | 5.5 | Carbamazepine | 429552 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 12.24% | 0.142 | FALSE |  |  |  | BQ |  | 0.00012285 | 0.12285 |  |  | 0.17088
QC_Pooled | QC_Pool_100ppb_IS | Unknown |  | #N/A | 1.91 | 5.5 | Carbamazepine | 1736344 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 11.59% | 0.408 | FALSE | [5 empty] | 0.00033604 | 0.33604
High_Snowmaking_Dec_2022 | SMRW_2_1_100ppb_IS | Unknown |  | #N/A | 14.3 | 5.5 | Carbamazepine | 11575068 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 11.33% | 3.1 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_1_dil_100ppb_IS | Unknown |  | #N/A | 1.01 | 5.5 | Carbamazepine | 1023225 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 7.72% | 0.212 | FALSE |  |  |  |  | 11.2596 | 0.0018214 | 1.8214
High_Snowmaking_Dec_2022 | SMRW_2_2_100ppb_IS | Unknown |  | #N/A | 20.3 | 5.48 | Carbamazepine | 10889104 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 8.54% | 4.41 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_dil_100ppb_IS | Unknown |  | #N/A | 3.66 | 5.5 | Carbamazepine | 3318650 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 8.98% | 0.789 | FALSE |  |  |  |  | 38.4931 | 0.0063632 | 6.3632
High_Snowmaking_Dec_2022 | SMRW_2_2_star_100ppb_IS_ | Unknown |  | #N/A | 11.2 | 5.5 | Carbamazepine | 7398863 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 7.27% | 2.42 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_star_dil_100ppb_IS | Unknown |  | #N/A | 2.22 | 5.5 | Carbamazepine | 2051954 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 14.71% | 0.474 | FALSE |  |  |  |  | 22.6078 | 0.0060953 | 6.0953
Low_Snowmaking | SMRW_3_1_100ppb_IS | Unknown |  | #N/A | 0.116 | 5.5 | Carbamazepine | 94839 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 1.67% | 0.0177 | FALSE | Below Detection |  |  | BQ |  | 1.9861e-05 | 0.019861
Low_Snowmaking | SMRW_3_2_100ppb_IS | Unknown |  | #N/A | 0.049 | 10.14 | Carbamazepine | 16894 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.32% | 0.00323 | FALSE | Below Detection |  |  | BQ |  | 8.2737e-06 | 0.0082737
Low_Snowmaking | SMRW_3_3_100ppb_IS | Unknown |  | #N/A | 0.314 | 5.5 | Carbamazepine | 221673 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.49% | 0.0609 | FALSE |  |  |  | BQ |  | 5.5615e-05 | 0.055615
High_Snowmaking_Mar_2022 | SMRW1_1_100ppb | Unknown |  | #N/A | 0.1 | 5.5 | Carbamazepine | 49797 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 1.06% | 0.0143 | FALSE | Below Detection |  |  | BQ |  | 1.7357e-05 | 0.017357
High_Snowmaking_Mar_2022 | SMRW1_2_100ppb | Unknown |  | #N/A | 0.169 | 5.5 | Carbamazepine | 93295 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 1.39% | 0.0293 | FALSE | Below Detection |  |  | BQ |  | 2.7937e-05 | 0.027937
High_Snowmaking_Mar_2022 | SMRW1_3_100ppb | Unknown |  | #N/A | 0.11 | 5.5 | Carbamazepine | 52753 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 1% | 0.0166 | FALSE | Below Detection |  |  | BQ |  | 1.8054e-05 | 0.018054
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 41.6 | 5.5 | Carbamazepine | 54965048 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 52.6% | 9.04 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 122 | 5.5 | Carbamazepine | 130837568 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 63.92% | 26.5 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 40.5 | 5.5 | Carbamazepine | 43202644 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 45.04% | 8.8 | FALSE
Other | cal_blank_1_4 | Unknown |  | #N/A | 0.0543 | 10.1 | Carbamazepine | 22597 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.44% | 0.00438 | FALSE
Other | cal_blank_1_5 | Unknown |  | #N/A | 0.043 | 10.1 | Carbamazepine | 9377 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.19% | 0.00192 | FALSE
Other | cal_blank_2_3 | Unknown |  | #N/A | 0.0786 | 10.1 | Carbamazepine | 54411 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.97% | 0.00965 | FALSE
Other | cal_blank_2_4 | Unknown |  | #N/A | 0.0818 | 10.06 | Carbamazepine | 50219 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 1.04% | 0.0104 | FALSE
Other | cal_blank_100_1_3 | Unknown |  | #N/A | 0.0455 | 10.06 | Carbamazepine | 12196 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.25% | 0.00248 | FALSE
Other | cal_blank1_2 | Unknown |  | #N/A | 0.0371 | 5.99 | Carbamazepine | 2506 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 0.06% | 0.000648 | FALSE
Other | instrument_blank_1 | Unknown |  | #N/A | 0 | 14.05 | Carbamazepine | 3049 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | âˆž | 0 | FALSE
Other | instrument_blank_2 | Unknown |  | #N/A | 0 | 0.37 | Carbamazepine | 135636 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | âˆž | 0 | FALSE
Other | instrument_blank_3 | Unknown |  | #N/A | 0 | 10.1 | Carbamazepine | 9098 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | âˆž | 0 | FALSE
0.1_ppb_calibrant | 0_point_1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.1 | -795.4% | -0.795 | 6.4 | Fexofenadine | 12308 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.3% | 0.00301 | TRUE
0.5_ppb_calibrant | 0_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.49 | -102.9% | -0.504 | 6.4 | Fexofenadine | 35477 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.78% | 0.00933 | TRUE
1ppb_calibrant | 1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.96 | 83.5% | 0.802 | 6.4 | Fexofenadine | 151184 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.66% | 0.0376 | FALSE | [5 empty] | 0.0376
2.5ppb_calibrant | 2_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 2.45 | 85.8% | 2.1 | 6.4 | Fexofenadine | 311973 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 3.7% | 0.0658 | FALSE
5ppb_calibrant | 5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 4.83 | 137.6% | 6.65 | 6.36 | Fexofenadine | 687168 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 5.12% | 0.164 | FALSE
10ppb_calibrant | 10ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 9.74 | 97.5% | 9.5 | 6.36 | Fexofenadine | 1041805 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 4.68% | 0.226 | FALSE
25ppb_calibrant | 25ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 24.27 | 95.6% | 23.2 | 6.4 | Fexofenadine | 2127105 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 4.19% | 0.523 | FALSE | [5 empty] | 0.523
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 49 | 41.6% | 20.4 | 6.36 | Fexofenadine | 1947544 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.29% | 0.463 | TRUE
100ppb_calibrant | 100ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 101 | 112.6% | 114 | 6.4 | Fexofenadine | 11058557 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 5.67% | 2.49 | TRUE
Other | 250ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 249.5 | 145.5% | 363 | 6.4 | Fexofenadine | 35487228 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 16.2% | 7.89 | TRUE
Other | 500ppbcalppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 501.9 | 785.7% | 3940 | 6.4 | Fexofenadine | 333548992 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 22.5% | 85.5 | TRUE
Calibration_Blank | cal_blank_1 | Blank |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE | BQ value | 1.8 |  |  |  | 0.0003078 | 0.3078
Calibration_Blank | calblank_2_1 | Blank |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_2 | Blank |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Extraction_Blank | Ext_Blank_1_100ppb_IS | Unknown |  | #N/A | -0.851 | 6.4 | Fexofenadine | 12497 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.18% | 0.00181 | FALSE | BD |  |  | BQ |  | -0.00013766 | -0.13766
Extraction_Blank | Ext_Blank_2_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Extraction_Blank | Ext_Blank_3_100ppb_IS | Unknown |  | #N/A | -0.809 | 1.07 | Fexofenadine | 20160 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.27% | 0.00272 | FALSE | BD |  |  | BQ |  | -0.00014424 | -0.14424
Natural_Snowfall | NS1_1_100ppb_IS | Unknown |  | #N/A | 0.00285 | 6.4 | Fexofenadine | 69260 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.03% | 0.0203 | FALSE | BD |  |  | BQ |  | 5.0142e-07 | 0.00050142
Natural_Snowfall | NS1_2_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS1_3_100ppb_IS | Unknown |  | #N/A | -0.37 | 6.4 | Fexofenadine | 45844 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 1.22% | 0.0122 | FALSE | BD |  |  | BQ |  | -6.1426e-05 | -0.061426
Natural_Snowfall | NS3_1_100ppb_IS | Unknown |  | #N/A | -0.893 | 6.45 | Fexofenadine | 2975 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.08% | 0.0009 | FALSE | BD |  |  | BQ |  | -0.00015827 | -0.15827
Natural_Snowfall | NS3_2_100ppb_IS | Unknown |  | #N/A | 1.58 | 6.49 | Fexofenadine | 212494 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 4.9% | 0.0544 | FALSE |  |  |  | BQ |  | 0.00027052 | 0.27052
Natural_Snowfall | NS3_3_100ppb_IS | Unknown |  | #N/A | -0.715 | 6.45 | Fexofenadine | 14367 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.41% | 0.00476 | FALSE | BD |  |  | BQ |  | -0.00012748 | -0.12748
QC_Pooled | QC_Pool_100ppb_IS | Unknown |  | #N/A | 20.8 | 6.4 | Fexofenadine | 2004982 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 13.38% | 0.471 | FALSE | [5 empty] | 0.0036595 | 3.6595
High_Snowmaking_Dec_2022 | SMRW_2_1_100ppb_IS | Unknown |  | #N/A | 161 | 6.4 | Fexofenadine | 13139511 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 12.87% | 3.52 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_1_dil_100ppb_IS | Unknown |  | #N/A | 2.84 | 6.4 | Fexofenadine | 394217 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.97% | 0.0817 | FALSE |  |  |  |  | 31.6607 | 0.0051216 | 5.1216
High_Snowmaking_Dec_2022 | SMRW_2_2_100ppb_IS | Unknown |  | #N/A | 237 | 6.45 | Fexofenadine | 12751378 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 10% | 5.17 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_dil_100ppb_IS | Unknown |  | #N/A | 13.9 | 6.4 | Fexofenadine | 1349527 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 3.65% | 0.321 | FALSE |  |  |  |  | 146.1897 | 0.024166 | 24.1664
High_Snowmaking_Dec_2022 | SMRW_2_2_star_100ppb_IS_ | Unknown |  | #N/A | 197 | 6.4 | Fexofenadine | 13152886 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 12.93% | 4.3 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_star_dil_100ppb_IS | Unknown |  | #N/A | 6.57 | 6.36 | Fexofenadine | 703541 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 5.04% | 0.163 | FALSE |  |  |  |  | 66.9067 | 0.018039 | 18.0388
Low_Snowmaking | SMRW_3_1_100ppb_IS | Unknown |  | #N/A | -0.76 | 6.4 | Fexofenadine | 20216 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.36% | 0.00378 | FALSE | BD |  |  | BQ |  | -0.00013012 | -0.13012
Low_Snowmaking | SMRW_3_2_100ppb_IS | Unknown |  | #N/A | -0.913 | 2.78 | Fexofenadine | 2360 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0.05% | 0.000451 | FALSE | BD |  |  | BQ |  | -0.00015416 | -0.15416
Low_Snowmaking | SMRW_3_3_100ppb_IS | Unknown |  | #N/A | 11.9 | 6.45 | Fexofenadine | 1013757 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.26% | 0.279 | FALSE | [5 empty] | 0.0021077 | 2.1077
High_Snowmaking_Mar_2022 | SMRW1_1_100ppb | Unknown |  | #N/A | 0.492 | 6.49 | Fexofenadine | 107544 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.3% | 0.0309 | FALSE | BD |  |  | BQ |  | 8.5399e-05 | 0.085399
High_Snowmaking_Mar_2022 | SMRW1_2_100ppb | Unknown |  | #N/A | 5.55 | 6.49 | Fexofenadine | 447446 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 6.65% | 0.141 | FALSE | [5 empty] | 0.00091746 | 0.91746
High_Snowmaking_Mar_2022 | SMRW1_3_100ppb | Unknown |  | #N/A | 1.71 | 6.53 | Fexofenadine | 182514 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 3.46% | 0.0573 | FALSE |  |  |  | BQ |  | 0.00028066 | 0.28066
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 8.77 | 6.36 | Fexofenadine | 1279011 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 1.22% | 0.21 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 60.3 | 6.4 | Fexofenadine | 6558745 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 3.2% | 1.33 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 45 | 6.4 | Fexofenadine | 4886590 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 5.09% | 0.996 | FALSE
Other | cal_blank_1_4 | Unknown |  | #N/A | -0.934 | 9.17 | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 0% | 0 | FALSE
Other | cal_blank_1_5 | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Other | cal_blank_2_3 | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Other | cal_blank_2_4 | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Other | cal_blank_100_1_3 | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Other | cal_blank1_2 | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
Other | instrument_blank_1 | Unknown |  | #N/A | NaN | 12.79 | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | NaN | NaN | FALSE
Other | instrument_blank_2 | Unknown |  | #N/A | 0 | 6.4 | Fexofenadine | 5281 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | âˆž | 0 | FALSE
Other | instrument_blank_3 | Unknown |  | #N/A | 0 | #N/A | Fexofenadine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | #N/A | 0 | FALSE
0.1_ppb_calibrant | 0_point_1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.1 | 137.7% | 0.138 | 5.33 | Flecainide | 62700 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 1.53% | 0.0153 | FALSE
0.5_ppb_calibrant | 0_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.48 | 104.1% | 0.5 | 5.33 | Flecainide | 267654 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 5.88% | 0.0704 | FALSE
1ppb_calibrant | 1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.95 | 103% | 0.979 | 5.33 | Flecainide | 575241 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 10.11% | 0.143 | FALSE
2.5ppb_calibrant | 2_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 2.42 | 61.8% | 1.5 | 5.33 | Flecainide | 1051416 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 12.47% | 0.222 | FALSE
5ppb_calibrant | 5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 4.76 | 93.7% | 4.46 | 5.33 | Flecainide | 2811835 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 20.95% | 0.672 | FALSE
10ppb_calibrant | 10ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 9.6 | 95.9% | 9.2 | 5.33 | Flecainide | 6419748 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 28.82% | 1.39 | FALSE
25ppb_calibrant | 25ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 23.95 | 112.7% | 27 | 5.33 | Flecainide | 16655228 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 32.85% | 4.1 | FALSE | BQ value | 0.971 |  |  |  | 0.00016604 | 0.16604
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 48.39 | 85.8% | 41.5 | 5.33 | Flecainide | 26544082 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 31.16% | 6.3 | FALSE
100ppb_calibrant | 100ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 99.7 | 105.4% | 105 | 5.33 | Flecainide | 71056712 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 36.42% | 16 | FALSE
Other | 250ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 246.3 | 68.3% | 168 | 5.33 | Flecainide | 115040344 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 52.52% | 25.6 | TRUE
Other | 500ppbcalppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 249.4 | 134.8% | 336 | 5.33 | Flecainide | 199364480 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 13.45% | 51.1 | TRUE
Calibration_Blank | cal_blank_1 | Blank |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_1 | Blank |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_2 | Blank |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
Extraction_Blank | Ext_Blank_1_100ppb_IS | Unknown |  | #N/A | 0.106 | 5.31 | Flecainide | 72765 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 1.05% | 0.0105 | FALSE | BD |  |  | BQ |  | 1.7147e-05 | 0.017147
Extraction_Blank | Ext_Blank_2_100ppb_IS | Unknown |  | #N/A | 0.0539 | 5.33 | Flecainide | 16965 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.26% | 0.00258 | FALSE | BD |  |  | BD |  | 9.4829e-06 | 0.0094829
Extraction_Blank | Ext_Blank_3_100ppb_IS | Unknown |  | #N/A | 0.0519 | 5.33 | Flecainide | 16866 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.23% | 0.00227 | FALSE | BD |  |  | BD |  | 9.2536e-06 | 0.0092536
Natural_Snowfall | NS1_1_100ppb_IS | Unknown |  | #N/A | 0.0754 | 5.33 | Flecainide | 19954 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.59% | 0.00585 | FALSE | BD |  |  | BD |  | 1.3266e-05 | 0.013266
Natural_Snowfall | NS1_2_100ppb_IS | Unknown |  | #N/A | 0.0449 | 5.33 | Flecainide | 7063 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.12% | 0.00121 | FALSE | BD |  |  | BD |  | 7.9525e-06 | 0.0079525
Natural_Snowfall | NS1_3_100ppb_IS | Unknown |  | #N/A | 0.0594 | 5.33 | Flecainide | 12813 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.34% | 0.00342 | FALSE | BD |  |  | BD |  | 9.8614e-06 | 0.0098614
Natural_Snowfall | NS3_1_100ppb_IS | Unknown |  | #N/A | 0.104 | 5.35 | Flecainide | 33661 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.87% | 0.0102 | FALSE | BD |  |  | BD |  | 1.8432e-05 | 0.018432
Natural_Snowfall | NS3_2_100ppb_IS | Unknown |  | #N/A | 0.175 | 5.35 | Flecainide | 82257 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 1.9% | 0.0211 | FALSE | BD |  |  | BD |  | 2.9962e-05 | 0.029962
Natural_Snowfall | NS3_3_100ppb_IS | Unknown |  | #N/A | 0.124 | 5.35 | Flecainide | 39921 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 1.14% | 0.0132 | FALSE | BD |  |  | BD |  | 2.2109e-05 | 0.022109
QC_Pooled | QC_Pool_100ppb_IS | Unknown |  | #N/A | 6.7 | 5.33 | Flecainide | 4311094 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 28.77% | 1.01 | FALSE | [5 empty] | 0.0011788 | 1.1788
High_Snowmaking_Dec_2022 | SMRW_2_1_100ppb_IS | Unknown |  | #N/A | 93.3 | 5.35 | Flecainide | 52991340 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 51.89% | 14.2 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_1_dil_100ppb_IS | Unknown |  | #N/A | 7.85 | 5.31 | Flecainide | 5732575 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 43.23% | 1.19 | FALSE |  |  |  |  | 87.513 | 0.014157 | 14.1567
High_Snowmaking_Dec_2022 | SMRW_2_2_100ppb_IS | Unknown |  | #N/A | 137 | 5.43 | Flecainide | 51242140 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 40.18% | 20.8 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_dil_100ppb_IS | Unknown |  | #N/A | 39 | 5.33 | Flecainide | 24896306 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 67.38% | 5.92 | FALSE |  |  |  |  | 410.1724 | 0.067805 | 67.8051
High_Snowmaking_Dec_2022 | SMRW_2_2_star_100ppb_IS_ | Unknown |  | #N/A | 72.7 | 5.37 | Flecainide | 33797464 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 33.21% | 11.1 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_star_dil_100ppb_IS | Unknown |  | #N/A | 6.09 | 5.33 | Flecainide | 3979299 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 28.53% | 0.92 | FALSE |  |  |  |  | 62.0186 | 0.016721 | 16.7209
Low_Snowmaking | SMRW_3_1_100ppb_IS | Unknown |  | #N/A | 0.257 | 5.31 | Flecainide | 178649 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 3.15% | 0.0334 | FALSE | BD |  |  | BD |  | 4.4002e-05 | 0.044002
Low_Snowmaking | SMRW_3_2_100ppb_IS | Unknown |  | #N/A | 0.138 | 5.33 | Flecainide | 80027 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 1.53% | 0.0153 | FALSE | BD |  |  | BD |  | 2.3301e-05 | 0.023301
Low_Snowmaking | SMRW_3_3_100ppb_IS | Unknown |  | #N/A | 71.3 | 5.33 | Flecainide | 39429100 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 87.91% | 10.8 | FALSE | [5 empty] | 0.012628 | 12.6284
High_Snowmaking_Mar_2022 | SMRW1_1_100ppb | Unknown |  | #N/A | 1.46 | 5.37 | Flecainide | 750131 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 16.02% | 0.216 | FALSE | [5 empty] | 0.00025342 | 0.25342
High_Snowmaking_Mar_2022 | SMRW1_2_100ppb | Unknown |  | #N/A | 5.46 | 5.35 | Flecainide | 2624033 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 39.02% | 0.825 | FALSE | [5 empty] | 0.00090259 | 0.90259
High_Snowmaking_Mar_2022 | SMRW1_3_100ppb | Unknown |  | #N/A | 3.14 | 5.39 | Flecainide | 1502320 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 28.47% | 0.471 | FALSE | [5 empty] | 0.00051536 | 0.51536
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 43.8 | 5.33 | Flecainide | 40494392 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 38.76% | 6.66 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 74.9 | 5.33 | Flecainide | 56238368 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 27.48% | 11.4 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 48.4 | 5.33 | Flecainide | 36109372 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 37.65% | 7.36 | FALSE
Other | cal_blank_1_4 | Unknown |  | #N/A | 0.0402 | 1.44 | Flecainide | 2543 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.05% | 0.000493 | FALSE
Other | cal_blank_1_5 | Unknown |  | #N/A | 0.0415 | 5.33 | Flecainide | 3418 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.07% | 0.0007 | FALSE
Other | cal_blank_2_3 | Unknown |  | #N/A | 0.0369 | 8.61 | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0% | 0 | FALSE
Other | cal_blank_2_4 | Unknown |  | #N/A | 0.0411 | 5.33 | Flecainide | 3062 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 0.06% | 0.000631 | FALSE
Other | cal_blank_100_1_3 | Unknown |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
Other | cal_blank1_2 | Unknown |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
Other | instrument_blank_1 | Unknown |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
Other | instrument_blank_2 | Unknown |  | #N/A | 0 | 5.33 | Flecainide | 12618 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | âˆž | 0 | FALSE
Other | instrument_blank_3 | Unknown |  | #N/A | 0 | #N/A | Flecainide | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | #N/A | 0 | FALSE
0.1_ppb_calibrant | 0_point_1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.1 | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | TRUE
0.5_ppb_calibrant | 0_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.49 | 152.1% | 0.745 | 2.96 | Lamotrigine | 9403 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.21% | 0.00247 | TRUE
1ppb_calibrant | 1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.97 | 131.1% | 1.27 | 2.96 | Lamotrigine | 19554 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.34% | 0.00487 | FALSE
2.5ppb_calibrant | 2_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 2.47 | 63.2% | 1.56 | 3 | Lamotrigine | 29342 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.35% | 0.00619 | FALSE | BQ value | 6.32 |  |  |  | 0.0010807 | 1.0807
5ppb_calibrant | 5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 4.87 | 112.5% | 5.48 | 2.96 | Lamotrigine | 100476 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.75% | 0.024 | FALSE
10ppb_calibrant | 10ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 9.82 | 88.5% | 8.69 | 3 | Lamotrigine | 178075 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.8% | 0.0387 | FALSE
25ppb_calibrant | 25ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 24.47 | 104.6% | 25.6 | 2.96 | Lamotrigine | 469843 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.93% | 0.116 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 49.43 | 80% | 39.6 | 2.96 | Lamotrigine | 754438 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.89% | 0.179 | TRUE
100ppb_calibrant | 100ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 101.89 | 58.2% | 59.3 | 2.96 | Lamotrigine | 1196100 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.61% | 0.269 | TRUE
Other | 250ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 251.58 | 48.6% | 122 | 2.96 | Lamotrigine | 2499769 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 1.14% | 0.556 | TRUE
Other | 500ppbcalppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 506.03 | 43.7% | 221 | 2.96 | Lamotrigine | 3919255 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.26% | 1 | TRUE
Calibration_Blank | cal_blank_1 | Blank |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_1 | Blank |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_2 | Blank |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Extraction_Blank | Ext_Blank_1_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Extraction_Blank | Ext_Blank_2_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Extraction_Blank | Ext_Blank_3_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS1_1_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS1_2_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS1_3_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS3_1_100ppb_IS | Unknown |  | #N/A | 0.91 | 6.54 | Lamotrigine | 10635 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.27% | 0.00322 | FALSE | BD |  |  | BQ |  | 0.00016128 | 0.16128
Natural_Snowfall | NS3_2_100ppb_IS | Unknown |  | #N/A | 0.801 | 3 | Lamotrigine | 10642 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.25% | 0.00272 | FALSE | BD |  |  | BQ |  | 0.00013714 | 0.13714
Natural_Snowfall | NS3_3_100ppb_IS | Unknown |  | #N/A | 0.441 | 2.96 | Lamotrigine | 3282 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.09% | 0.00109 | FALSE | BD |  |  | BQ |  | 7.8629e-05 | 0.078629
QC_Pooled | QC_Pool_100ppb_IS | Unknown |  | #N/A | 10.1 | 3 | Lamotrigine | 191232 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 1.28% | 0.0449 | FALSE | [5 empty] | 0.001777 | 1.777
High_Snowmaking_Dec_2022 | SMRW_2_1_100ppb_IS | Unknown |  | #N/A | 13.9 | 3 | Lamotrigine | 232571 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.23% | 0.0623 | FALSE | [5 empty] | 0.0022486 | 2.2486
High_Snowmaking_Dil_Dec_2022 | SMRW_2_1_dil_100ppb_IS | Unknown |  | #N/A | 2.48 | 2.96 | Lamotrigine | 50035 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.38% | 0.0104 | FALSE |  |  |  | BQ | 27.6474 | 0.0044724 | 4.4724
High_Snowmaking_Dec_2022 | SMRW_2_2_100ppb_IS | Unknown |  | #N/A | 14.7 | 3.17 | Lamotrigine | 163088 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.13% | 0.0661 | FALSE | [5 empty] | 0.00243 | 2.43
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_dil_100ppb_IS | Unknown |  | #N/A | 8.04 | 3 | Lamotrigine | 150065 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.41% | 0.0357 | FALSE |  |  |  | BQ | 84.5586 | 0.013978 | 13.9783
High_Snowmaking_Dec_2022 | SMRW_2_2_star_100ppb_IS_ | Unknown |  | #N/A | 12.6 | 3.04 | Lamotrigine | 172681 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.17% | 0.0565 | FALSE | [5 empty] | 0.0033971 | 3.3971
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_star_dil_100ppb_IS | Unknown |  | #N/A | 7.05 | 2.96 | Lamotrigine | 134817 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.97% | 0.0312 | FALSE |  |  |  | BQ | 71.7949 | 0.019357 | 19.3567
Low_Snowmaking | SMRW_3_1_100ppb_IS | Unknown |  | #N/A | 0.364 | 3 | Lamotrigine | 3920 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.07% | 0.000733 | FALSE | BD |  |  | BD |  | 6.2321e-05 | 0.062321
Low_Snowmaking | SMRW_3_2_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE | BD |  |  | BD |  | 0 | 0
Low_Snowmaking | SMRW_3_3_100ppb_IS | Unknown |  | #N/A | 20.4 | 3 | Lamotrigine | 334860 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.75% | 0.092 | FALSE | [5 empty] | 0.0036132 | 3.6132
High_Snowmaking_Mar_2022 | SMRW1_1_100ppb | Unknown |  | #N/A | 3.78 | 3 | Lamotrigine | 56643 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 1.21% | 0.0163 | FALSE |  |  |  | BQ |  | 0.00065611 | 0.65611
High_Snowmaking_Mar_2022 | SMRW1_2_100ppb | Unknown |  | #N/A | 15.9 | 3.04 | Lamotrigine | 226827 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 3.37% | 0.0713 | FALSE | [5 empty] | 0.0026284 | 2.6284
High_Snowmaking_Mar_2022 | SMRW1_3_100ppb | Unknown |  | #N/A | 17.4 | 3 | Lamotrigine | 249274 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 4.72% | 0.0782 | FALSE | [5 empty] | 0.0028558 | 2.8558
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 34.3 | 3 | Lamotrigine | 943504 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.9% | 0.155 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 29.1 | 3 | Lamotrigine | 649774 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.32% | 0.131 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 30.1 | 3 | Lamotrigine | 667169 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.7% | 0.136 | FALSE
Other | cal_blank_1_4 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | cal_blank_1_5 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | cal_blank_2_3 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | cal_blank_2_4 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | cal_blank_100_1_3 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | cal_blank1_2 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | instrument_blank_1 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | instrument_blank_2 | Unknown |  | #N/A | 0 | #N/A | Lamotrigine | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | #N/A | 0 | FALSE
Other | instrument_blank_3 | Unknown |  | #N/A | 0 | 11.99 | Lamotrigine | 2486 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | âˆž | 0 | FALSE
0.1_ppb_calibrant | 0_point_1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.1 | 2661% | 2.66 | 3.17 | Fluconazole | 13969 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.34% | 0.00342 | TRUE
0.5_ppb_calibrant | 0_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 0.51 | 569.6% | 2.91 | 3.17 | Fluconazole | 57276 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 1.26% | 0.0151 | TRUE
1ppb_calibrant | 1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 1 | 324.8% | 3.25 | 3.17 | Fluconazole | 126343 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 2.22% | 0.0314 | TRUE
2.5ppb_calibrant | 2_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 2.56 | 125.1% | 3.2 | 3.21 | Fluconazole | 138849 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 1.65% | 0.0293 | FALSE
5ppb_calibrant | 5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 5 | 113% | 5.65 | 3.17 | Fluconazole | 611438 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 4.56% | 0.146 | FALSE
10ppb_calibrant | 10ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 10.16 | 63.2% | 6.43 | 3.21 | Fluconazole | 843907 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 3.79% | 0.183 | FALSE
25ppb_calibrant | 25ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 25.3 | 87.8% | 22.2 | 3.17 | Fluconazole | 3812273 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 7.52% | 0.938 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 51.13 | 110.8% | 56.6 | 3.17 | Fluconazole | 10872577 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 12.76% | 2.58 | FALSE
100ppb_calibrant | 100ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 105.4 | 15.5% | 16.3 | 3.25 | Fluconazole | 2916312 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 1.49% | 0.656 | TRUE
Other | 250ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 260.25 | 48.2% | 125 | 3.21 | Fluconazole | 26402020 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 12.05% | 5.87 | TRUE
Other | 500ppbcalppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 523.48 | 226% | 1180 | 3.17 | Fluconazole | 219957008 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 14.84% | 56.4 | TRUE
Calibration_Blank | cal_blank_1 | Blank |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_1 | Blank |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Calibration_Blank | calblank_2_2 | Blank |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Extraction_Blank | Ext_Blank_1_100ppb_IS | Unknown |  | #N/A | 2.6 | 3.17 | Fluconazole | 2589 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.04% | 0.000374 | FALSE | BD |  |  | BQ |  | 0.00042059 | 0.42059
Extraction_Blank | Ext_Blank_2_100ppb_IS | Unknown |  | #N/A | 2.6 | 0.32 | Fluconazole | 2600 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.04% | 0.000396 | FALSE | BD |  |  | BQ |  | 0.00045743 | 0.45743
Extraction_Blank | Ext_Blank_3_100ppb_IS | Unknown |  | #N/A | 2.59 | 8.09 | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0% | 0 | FALSE | BD |  |  | BQ |  | 0.00046179 | 0.46179
Natural_Snowfall | NS1_1_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE | Bd |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS1_2_100ppb_IS | Unknown |  | #N/A | 2.6 | 3.33 | Fluconazole | 2499 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.04% | 0.000428 | FALSE | Bd |  |  | BQ |  | 0.0004605 | 0.4605
Natural_Snowfall | NS1_3_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Natural_Snowfall | NS3_1_100ppb_IS | Unknown |  | #N/A | 2.64 | 3.17 | Fluconazole | 8514 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.22% | 0.00258 | FALSE | BD |  |  | BQ |  | 0.0004679 | 0.4679
Natural_Snowfall | NS3_2_100ppb_IS | Unknown |  | #N/A | 2.71 | 3.17 | Fluconazole | 22116 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.51% | 0.00566 | FALSE | Bd |  |  | BQ |  | 0.00046399 | 0.46399
Natural_Snowfall | NS3_3_100ppb_IS | Unknown |  | #N/A | 2.64 | 3.17 | Fluconazole | 6901 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.2% | 0.00229 | FALSE | BD |  |  | BQ |  | 0.0004707 | 0.4707
QC_Pooled | QC_Pool_100ppb_IS | Unknown |  | #N/A | 14.8 | 3.17 | Fluconazole | 2484208 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 16.58% | 0.584 | FALSE |  |  |  | BQ |  | 0.0026038 | 2.6038
High_Snowmaking_Dec_2022 | SMRW_2_1_100ppb_IS | Unknown |  | #N/A | 117 | 3.17 | Fluconazole | 20444300 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 20.02% | 5.47 | FALSE |  |  |  | AQ
High_Snowmaking_Dil_Dec_2022 | SMRW_2_1_dil_100ppb_IS | Unknown |  | #N/A | 7.96 | 3.17 | Fluconazole | 1236643 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 9.33% | 0.256 | FALSE | BD |  |  | BQ | 88.7393 | 0.014355 | 14.355
High_Snowmaking_Dec_2022 | SMRW_2_2_100ppb_IS | Unknown |  | #N/A | 427 | 3.17 | Fluconazole | 50013912 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 39.22% | 20.3 | FALSE |  |  |  | AQ
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_dil_100ppb_IS | Unknown |  | #N/A | 17.6 | 3.21 | Fluconazole | 3025214 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 8.19% | 0.719 | FALSE |  |  |  | BQ | 185.1034 | 0.030599 | 30.5992
High_Snowmaking_Dec_2022 | SMRW_2_2_star_100ppb_IS_ | Unknown |  | #N/A | 305 | 3.21 | Fluconazole | 44178548 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 43.42% | 14.4 | FALSE |  |  |  | AQ
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_star_dil_100ppb_IS | Unknown |  | #N/A | 15.9 | 3.17 | Fluconazole | 2751994 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 19.73% | 0.636 | FALSE |  |  |  | BQ | 161.9204 | 0.043655 | 43.6555
Low_Snowmaking | SMRW_3_1_100ppb_IS | Unknown |  | #N/A | 2.7 | 3.17 | Fluconazole | 28489 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.5% | 0.00533 | FALSE | BD |  |  | BQ |  | 0.00046227 | 0.46227
Low_Snowmaking | SMRW_3_2_100ppb_IS | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE | BD |  |  | BQ |  | 0 | 0
Low_Snowmaking | SMRW_3_3_100ppb_IS | Unknown |  | #N/A | 3.83 | 3.17 | Fluconazole | 215032 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.48% | 0.0591 | FALSE | BD |  |  | BQ |  | 0.00067836 | 0.67836
High_Snowmaking_Mar_2022 | SMRW1_1_100ppb | Unknown |  | #N/A | 4.03 | 3.21 | Fluconazole | 239147 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 5.11% | 0.0688 | FALSE | BD |  |  | BQ |  | 0.0006995 | 0.6995
High_Snowmaking_Mar_2022 | SMRW1_2_100ppb | Unknown |  | #N/A | 3.59 | 3.21 | Fluconazole | 151280 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 2.25% | 0.0475 | FALSE | BD |  |  | BQ |  | 0.00059346 | 0.59346
High_Snowmaking_Mar_2022 | SMRW1_3_100ppb | Unknown |  | #N/A | 3.27 | 3.17 | Fluconazole | 103935 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 1.97% | 0.0326 | FALSE | BD |  |  | BQ |  | 0.0005367 | 0.5367
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 5.09 | 3.25 | Fluconazole | 726205 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.7% | 0.119 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 25.7 | 3.21 | Fluconazole | 5450220 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 2.66% | 1.1 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 28.8 | 3.21 | Fluconazole | 6144028 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 6.41% | 1.25 | FALSE
Other | cal_blank_1_4 | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Other | cal_blank_1_5 | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Other | cal_blank_2_3 | Unknown |  | #N/A | 2.6 | 5.9 | Fluconazole | 2177 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.04% | 0.000386 | FALSE
Other | cal_blank_2_4 | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Other | cal_blank_100_1_3 | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Other | cal_blank1_2 | Unknown |  | #N/A | 2.6 | 0.36 | Fluconazole | 2722 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.07% | 0.000704 | FALSE
Other | instrument_blank_1 | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
Other | instrument_blank_2 | Unknown |  | #N/A | 0 | 5.49 | Fluconazole | 2583 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | âˆž | 0 | FALSE
Other | instrument_blank_3 | Unknown |  | #N/A | 0 | #N/A | Fluconazole | 0 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | #N/A | 0 | FALSE
0.1_ppb_calibrant | 0_point_1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4090403 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 99.66% | 4090000 | FALSE
0.5_ppb_calibrant | 0_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3804429 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 83.57% | 3800000 | FALSE
1ppb_calibrant | 1ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4017365 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 70.6% | 4020000 | FALSE
2.5ppb_calibrant | 2_point_5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4740528 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 56.21% | 4740000 | FALSE
5ppb_calibrant | 5ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4182036 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 31.16% | 4180000 | FALSE
10ppb_calibrant | 10ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4606152 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 20.68% | 4610000 | FALSE
25ppb_calibrant | 25ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4065200 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 8.02% | 4070000 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4210493 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 4.94% | 4210000 | FALSE
100ppb_calibrant | 100ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4448334 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 2.28% | 4450000 | FALSE
Other | 250ppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4497385 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 2.05% | 4500000 | FALSE
Other | 500ppbcalppb_cal_pharmaceutical_mix_100ppb_IS | Standard |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3900877 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 0.26% | 3900000 | FALSE
Calibration_Blank | cal_blank_1 | Blank |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4052574 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 4050000 | FALSE
Calibration_Blank | calblank_2_1 | Blank |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4175033 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 4180000 | FALSE
Calibration_Blank | calblank_2_2 | Blank |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3831189 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 3830000 | FALSE
Extraction_Blank | Ext_Blank_1_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 6921775 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 99.96% | 6920000 | FALSE
Extraction_Blank | Ext_Blank_2_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 6566873 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 99.96% | 6570000 | FALSE
Extraction_Blank | Ext_Blank_3_100ppb_IS | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 7419368 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 7420000 | FALSE
Natural_Snowfall | NS1_1_100ppb_IS | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3409416 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 3410000 | FALSE
Natural_Snowfall | NS1_2_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 5836174 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 99.96% | 5840000 | FALSE
Natural_Snowfall | NS1_3_100ppb_IS | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3745860 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 3750000 | FALSE
Natural_Snowfall | NS3_1_100ppb_IS | Unknown |  | #N/A | 0 | 2.69 | Sulfamethizole-d4 | 3303870 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 85.34% | 3300000 | FALSE
Natural_Snowfall | NS3_2_100ppb_IS | Unknown |  | #N/A | 0 | 2.69 | Sulfamethizole-d4 | 3906152 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 90.13% | 3910000 | FALSE
Natural_Snowfall | NS3_3_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 3016750 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 85.93% | 3020000 | FALSE
QC_Pooled | QC_Pool_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 4255685 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 28.4% | 4260000 | FALSE
High_Snowmaking_Dec_2022 | SMRW_2_1_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 3736015 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 3.66% | 3740000 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_1_dil_100ppb_IS | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4822828 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 36.37% | 4820000 | FALSE
High_Snowmaking_Dec_2022 | SMRW_2_2_100ppb_IS | Unknown |  | #N/A | 0 | 2.69 | Sulfamethizole-d4 | 2468390 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 1.94% | 2470000 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_dil_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 4207125 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 11.39% | 4210000 | FALSE
High_Snowmaking_Dec_2022 | SMRW_2_2_star_100ppb_IS_ | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 3058051 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 3.01% | 3060000 | FALSE
High_Snowmaking_Dil_Dec_2022 | SMRW_2_2_star_dil_100ppb_IS | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4325450 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 31.01% | 4330000 | FALSE
Low_Snowmaking | SMRW_3_1_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 5344583 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 94.25% | 5340000 | FALSE
Low_Snowmaking | SMRW_3_2_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 5228093 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 5230000 | FALSE
Low_Snowmaking | SMRW_3_3_100ppb_IS | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 3638616 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 8.11% | 3640000 | FALSE
High_Snowmaking_Mar_2022 | SMRW1_1_100ppb | Unknown |  | #N/A | 0 | 2.67 | Sulfamethizole-d4 | 3478490 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 74.3% | 3480000 | FALSE
High_Snowmaking_Mar_2022 | SMRW1_2_100ppb | Unknown |  | #N/A | 0 | 2.69 | Sulfamethizole-d4 | 3182049 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 47.32% | 3180000 | FALSE
High_Snowmaking_Mar_2022 | SMRW1_3_100ppb | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3186886 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 60.38% | 3190000 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 6079030 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 5.82% | 6080000 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4943531 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 2.42% | 4940000 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4907040 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 5.12% | 4910000 | FALSE
Other | cal_blank_1_4 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 5156361 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 5160000 | FALSE
Other | cal_blank_1_5 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4885329 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 4890000 | FALSE
Other | cal_blank_2_3 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 5636287 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 99.96% | 5640000 | FALSE
Other | cal_blank_2_4 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4849971 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 4850000 | FALSE
Other | cal_blank_100_1_3 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 4926151 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 100% | 4930000 | FALSE
Other | cal_blank1_2 | Unknown |  | #N/A | 0 | 2.71 | Sulfamethizole-d4 | 3866706 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | 99.93% | 3870000 | FALSE
Other | instrument_blank_1 | Unknown |  | #N/A | 0 | #N/A | Sulfamethizole-d4 | 0 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | #N/A | 0 | FALSE
Other | instrument_blank_2 | Unknown |  | #N/A | 0 | #N/A | Sulfamethizole-d4 | 0 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | #N/A | 0 | FALSE
Other | instrument_blank_3 | Unknown |  | #N/A | 0 | #N/A | Sulfamethizole-d4 | 0 | Surrogate Standard |  | Ion [160.037249/160.037249] 160.0367+ | #N/A | 0 | FALSE