## Sheet1
Sample_Name | Replicate | Sample Type | Explicit Analyte Concentration | Accuracy | Calculated_Concentration | Retention Time | Molecule_Name | Total_Area | Standard Type | Normalization Method | Transition | Total Area Normalized | Normalized_Area | Exclude From Calibration
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 41.6 | 5.5 | Carbamazepine | 54965048 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 52.6% | 9.04 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 122 | 5.5 | Carbamazepine | 130837568 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 63.92% | 26.5 | FALSE | Run after SMRw high snowmaking samples. Likely not good
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 40.5 | 5.5 | Carbamazepine | 43202644 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 45.04% | 8.8 | FALSE | Run after SMRw high snowmaking samples. Likely not good
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 50.3 | 88.8% | 44.7 | 5.5 | Carbamazepine | 40864664 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [194.096549/194.096549] 194.0960+ | 47.97% | 9.71 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 8.77 | 6.36 | Fexofenadine | 1279011 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 1.22% | 0.21 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 60.3 | 6.4 | Fexofenadine | 6558745 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 3.2% | 1.33 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 45 | 6.4 | Fexofenadine | 4886590 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 5.09% | 0.996 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 49 | 41.6% | 20.4 | 6.36 | Fexofenadine | 1947544 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [171.117349/171.117349] 171.1168+ | 2.29% | 0.463 | TRUE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 43.8 | 5.33 | Flecainide | 40494392 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 38.76% | 6.66 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 74.9 | 5.33 | Flecainide | 56238368 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 27.48% | 11.4 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 48.4 | 5.33 | Flecainide | 36109372 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 37.65% | 7.36 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 48.39 | 85.8% | 41.5 | 5.33 | Flecainide | 26544082 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [398.118849/398.118849] 398.1183+ | 31.16% | 6.3 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 34.3 | 3 | Lamotrigine | 943504 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.9% | 0.155 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 29.1 | 3 | Lamotrigine | 649774 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.32% | 0.131 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 30.1 | 3 | Lamotrigine | 667169 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.7% | 0.136 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 49.43 | 80% | 39.6 | 2.96 | Lamotrigine | 754438 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [210.983049/210.983049] 210.9825+ | 0.89% | 0.179 | TRUE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_2 | Unknown |  | #N/A | 5.09 | 3.25 | Fluconazole | 726205 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 0.7% | 0.119 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3 | Unknown |  | #N/A | 25.7 | 3.21 | Fluconazole | 5450220 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 2.66% | 1.1 | FALSE
Other | 50ppb_cal_pharmaceutical_mix_100ppb_IS_3_20240611081856 | Unknown |  | #N/A | 28.8 | 3.21 | Fluconazole | 6144028 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 6.41% | 1.25 | FALSE
50ppb_calibrant | 50ppb_cal_pharmaceutical_mix_100ppb_IS | Standard | 51.13 | 110.8% | 56.6 | 3.17 | Fluconazole | 10872577 |  | Ratio to surrogate Sulfamethizole-d4 | Ion [220.068549/220.068549] 220.0680+ | 12.76% | 2.58 | FALSE
| Mean | St.Dev | CV
Carbamzepine | 47914856 | 9970477.1437 | 20.8087
Fexofenadine | 1613277.5 | 472724.2177 | 29.3021
Flecainide | 33519237 | 9864358.8007 | 29.4289
Lamotrigine | 848971 | 133689.8507 | 15.7473
Fluconazole | 5799391 | 7174568.4456 | 123.7124
| Three CVs only (no 50 ppb cal) |  | Four CCVs (with cal) |  | Three CCVs no (IS3) |  | Two CCVs no (IS3s)
| CV |  | CV |  | CV |  | CV
Carbamzepine | 62.3115 |  | 63.2822 |  | 16.3061 |  | 20.8087
Fexofenadine | 63.6184 |  | 67.7174 |  | 70.9656 |  | 29.3021
Flecainide | 23.9047 |  | 31.0773 |  | 20.7479 |  | 29.4289
Lamotrigine | 21.8709 |  | 17.852 |  | 17.9177 |  | 15.7473
Fluconazole | 71.7874 |  | 71.6062 |  | 85.8447 |  | 123.7124